VT POWER ENGINEERING
MILWAUKEE MAKERSPACE
New Berlin, WI
Phone: (414)678-8937
BUILDING ALTERATIONS
SHEET INDEX
ELECTRICAL ABBREVIATIONS
ABV
ABOVE
HVC
HEATING VENTILATING CONTRACTOR
TITLE SHEET
E0.0
AFF
ABOVE FINISHED FLOOR
J-BOX
JUNCTION BOX
AIC
AVAILABLE INTERRUPTING CURRENT
LCP
LIGHTING CONTROL PANEL
E1.1
MAIN LEVEL PLAN - LIGHTING
AIE
ARCHITECT/ENGINEER
LG
LAY-IN GRID
E1.2
SECOND LEVEL AND BASEMENT PLAN - LIGHTING
LTG
LIGHTING
ALT
ALTERNATE
ARCH
ARCHITECT
LV
LOW VOLTAGE
ATS
AUTOMATIC TRANSFER SWITCH
LVT
LINE VOLTAGE THERMOSTAT
BLDG
BUILDING
MAG
MAGNETIC STARTER
BD
BUSDUCT
MAN
MANUAL STARTER
CATV
CABLE TELEVISION
MCC
MOTOR CONTROL CENTER
CCTV
CLOSED CIRCUIT TELEVISION
MDP
MAIN DISTRIBUTION PANEL
CB
CIRCUIT BREAKER
MLO
MAIN LUGS ONLY
CKT
CIRCUIT
MSB
MAIN SWITCHBOARD
CLG
CEILING
MTD
MOUNTED
CM
COFFEE MAKER
MW
MICROWAVE
CP
CONTROL PANEL
NIC
NOT IN CONTRACT
D
DEDICATED
PB
PUSHBUTTON
DISC
DISCONNECT
PEND
PENDANT
EC
ELECTRICAL CONTRACTOR
PC
PHOTO CONTROL
ELEV
ELEVATION REFERENCE
PLBG
PLUMBING CONTRACTOR
EM
EMERGENCY
PNL
PANEL
EP
EXPLOSION PROOF
RAI
REMAIN AS IS
ER
EXISTING TO BE REMOVED
REC
RECESS
ERL
EXISTING TO BE RELOCATED
RECEPT
RECEPTACLE
ERLD
EXISTING RELOCATED
REF
REFRIGERATOR
ETR
EXISTING TO REMAIN
RM
ROOM
FAAP
FIRE ALARM ANNUNCIATOR PANEL
SURF
SURFACE
FACP
FIRE ALARM CONTROL PANEL
SW
SWITCH
FDR
FEEDER
TCP
TEMPERATURE CONTROL PANEL
FIXT
FIXTURE
TCC
TEMPERATURE CONTROL CONTRACTOR
FLR
FLOOR
TR
TAMPER RESISTANT
FS
FLOW SWITCH
TS
TAMPER SWITCH
ISSUANCE:
GC
GENERAL CONTRACTOR
TV
TELEVISION
GFI
GROUND FAULT INTERRUPTER
TYP
TYPICAL
REVIEW
GRC
GALVANIZED RIGID CONDUIT
UG
UNDERGROUND
GRD
GROUND
UNIV
UNIVERSAL
HP
HORSEPOWER
USS
UNIT SUBSTATION
HV
HIGH VOLTAGE
WP
WEATHERPROOF
XFMR
TRANSFORMER
HVAC
HEATING & VENTILATING - AIR CONDITIONING
SYMBOLS LIST
LIGHTING FIXTURES:
LIGHTING CONTROLS:
GENERAL DEVICES:
SYMBOL
DESCRIPTION
SYMBOL
DESCRIPTION
SYMBOL
DESCRIPTION
SINGLE POLE SWITCH - MOUNT AT 48"
DUPLEX RECEPTACLE - MOUNTED 18"
a
CEILING MOUNTED FIXTURE
X
AFF UNLESS NOTED OTHERWISE
AFF, UNLESS NOTED OTHERWISE
A
B-1c
CIRCUIT SWITCH LEG
CIRCUIT NUMBER
CIRCUIT SWITCH LEG
DUPLEX RECEPTACLE - MOUNTED 4"
CIRCUIT NUMBER
2
DOUBLE POLE
X
ABOVE COUNTERTOP OR COUNTER
SWITCHING DEVICE
3
3 WAY SWITCH
BACKSPLASH WHEN PRESENT
REVISIONS:
FIXTURE DESIGNATION
T
SINGLE POLE SWITCH W/ TIMER
CIRCUIT NUMBER
DLS
DUAL LEVEL SWITCHING
DATE:
NO.
CEILING MOUNTED FIXTURE -
REVISION:
SPECIAL OUTLET
SHADING INDICATES FIXTURE WIRED
P
SINGLE POLE PILOT LIGHT SWITCH
TO EMERGENCY OR NIGHT LIGHTING
SINGLE POLE SWITCH W/ OCCUPANCY
OS
CIRCUIT
SENSOR
#
DRAWING REFERENCE NOTE
DAYLIGHT SENSOR
S
STRIP LIGHT
VACANCY SENSOR
V
X
WALL SURFACE
MOTOR CONNECTION
X
TYPE:
CEILING SURFACE
1 - CORNER MTD DUAL-TECH
2 - 360° CEILING MTD DUAL-TECH
JUNCTION BOX
CEILING MOUNTED DOWNLIGHT
3 - 360° CEILING MTD IR
OCCUPANCY SENSOR
O
LIGHT FIXTURE - DIRECTIONAL
X
DISCONNECT SWITCH
TYPE:
LIGHT POLE - 1 LUMINAIRE
1 - CORNER MTD DUAL-TECH
TRANSFORMER
T
LIGHT POLE - 2 LUMINAIRE
2 - 360° CEILING MTD DUAL-TECH
3 - 360° CEILING MTD IR
CIRCUIT/FEEDER IDENTIFICATION
EXIT LIGHT
PHOTO CONTROL
REFER TO FEEDER SCHEDULE AND
WALL MOUNTED EXIT LIGHT
ONE-LINE DIAGRAM
LOW VOLTAGE SWITCH
a
LIGHT TRACK
T
PANELBAORD
CIRCUIT SWITCH LEG
'XXX'
WALL MOUNTED FIXTURE
LIGHTING CONTROL
C
DATA (ROUGH IN ONLY)
CONTACTOR
EMERGENCY BATTERY POWER -
CARD READER
CR
DUAL HEAD
BATTERY POWERED REMOTE HEAD
DOOR STRIKE
DS
SHEET TITLE:
EMERGENCY STOP (E-STOP)
TITLE PAGE
JOB NO.:
SR2003
4-MAY-2020
SHEET NO.:
E0.0
Milwaukee Makerspace
Builin Alteration
2517 E. Norwich Ave.
 St. Francis, WI 53235

---
DN
DN
UP

---
GENERAL NOTES:
1.
REFER TO FIXTURE SCHEDULE ON THIS DRAWING FOR FIXTURE
TYPICAL LOW VOLTAGE
DETAILS.
MOMENTARY SWITCH TO
2.
REFER TO DETAIL "2" ON THIS DRAWING FOR LIGHTING
LINE VOLTAGE WIRING
CONTROL LIGHTS VIA
COMPARTMENT
CONTROL PANEL WIRING DETAIL.
RELAYS AS INDICATED ON
DRAWINGS
3.
CIRCUIT ALL LIGHTING FIXTURES TO INDICATED PANELS AND
120V CIRCUIT TO LIGHT
TYPICAL DAYLIGHT
FIXTURES AS INDICATED
THROUGH THE LIGHTING CONTROL PANEL AS INDICATED ON
SENSOR TO CONTROL
THE DRAWINGS UNLESS NOTED OTHERWISE.
LIGHTS VIA RELAYS AS
TYPICAL RELAY RATED
4.
COORDINATE FIXTURE LOCATIONS WITH ALL OTHER TRADES.
INDICATED ON DRAWINGS
WIRING
20A, 120V
5.
CONNECT EMERGENCY BATTERY EGRESS UNITS AND
COMP
TYPICAL OCCUPANCY/VACANCY
EMERGENCY EXIT SIGN FIXTURES TO INDICATED CIRCUITS. DO
SENSOR TO CONTROL LIGHTS VIA
NOT SWITCH EMERGENCY EGRESS FIXTURES.
RELAYS AS INDICATED ON
6.
PROVIDE LOW VOLTAGE MOMENTARY OVER-RIDE SWITCHES AT
DRAWINGS
120V CIRCUIT FROM
APPROXIMATE INDICATED LOCATIONS TO CONTROL FIXTURES
LIGHTING PANEL
TYPICAL PHOTOSENSOR
AS INDICATED ON THE DRAWINGS. CONFIRM FINAL LOCATIONS
TO CONTROL LIGHTS VIA
RELAYS AS INDICATED ON
WITH OWNER.
DRAWINGS
6.
ALL CIRCUIT NUMBERS INDICATED ARE ARBITRARY FOR
LOADING PURPOSES ONLY. UTILIZE AVAILABLE CIRCUITS IN
NOTES:
PANELS.
1.
EACH CONTROL/SENSOR INPUT SHALL BE SOFTWARE PROGRAMMABLE TO CONTROL
ANY RELAY OR GROUP OF RELAYS
7.
ALL WORK SHALL BE PERFORMED AND INSTALLED IN
ACCORDANCE WITH ALL STATE AND LOCAL CODES AND
AUTHORITIES HAVING JURISDICTION.
8.
LIGHTING CONTROL DEVICES INDICATED ON THE PLANS SHALL
CONTROL LIGHTING FIXTURES IN THE SAME SPACE AS
INDICATED ON THE PLANS UNLESS NOTED OTHERWISE.
9.
CONFIRM ALL MOUNTING HEIGHTS WITH OWNER.
REFERENCED NOTES:
1.
PROVIDE DAYLIGHT CONTROL SENSOR TO DIM LIGHT
CONTINUOUSLY FROM FULL LIGHT OUTPUT TO 15 PERCENT
OF FULL LIGHT OUTPUT POWER OR LOWER.
2.
WIRE LIGHT FIXTURE(S) TO CONTROL VIA DAYLIGHT SENSOR
INDICATED IN THE AREA.
2ND LEVEL &
BASEMENT PLAN -
Buildin Alteration